Introduction to data management and storage for HPC
(part 1)
1. Stefano Cozzini
3. CNR/IOM and eXact-lab srl

---
Agenda
- Introducing the big-data problem
- Data intensive science
- Data management considerations
- Data infrastructures and tools
- Basic concepts on storage

---
storage 101
April 14, 2011

---
Memory Hierarchy
Computers architectures try to keep data close to the processors in order to feed them continuously.
However, while the capacity of storage devices increases, the distance to the processors also increases.
Internal Memory - processor registers and cache
Main Memory - system RAM and controller cards
On-line mass storage - secondary storage
Off-line bulk storage - tertiary and off-line storage
Primary Storage
Processor
Swap Disks
FS Disks
Registers
L1 Cache
L2 Cache
Registers
L1 Cache
L2 Cache
Core 1
Core 2
L3 Cache
RAM

---
Storage Hierarchy
Same as with the memory hierarchy of
Register -> Cache (L1->L2->L3) -> RAM
storage follows a hierarchy with multiple levels:
RAM disk, I/O buffers or file system cache
Local disk (flash based, spinning disk)
(SATA, SAS, RAID, SSD, JBOD, ... )
Local network attached device or file system server
(NAS, SAN, NFS, CIFS, Lustre, GPFS, ...)
Tape based archival system (often with disk cache)
External, distributed file systems (Cloud storage)

---
Key metrics
- Bandwidth: volume of data read/written in a second
  → throughput metric
- IOPs: number of IO request processed by second
  → Is it a latency or a throughput metric ?
- Order of magnitudes
  - Intel v2/v3 CPU-DRAM: 60 GB/s
  - IB link: 5-10 GB/s
  - Hard Drive: ~100- 150 MB/s

---
Cache/Swap
- Disk I/O is much slower than main memory I/O,
  typically about a 100x (varied with hardware):
  - typically applications use buffers (libc/stdio)
- In typical workloads certain data is accessed repeatedly beyond an application lifetimes:
  - OS maintains buffer of recently used data
  - buffer competes with applications for RAM
  - OS can substitute swap disk for RAM
- Memory management unit (MMU) organizes address space in pages

---
Building storage system from bits

---
RAM Disk / Solid State Drive
- Unix-like OS environments very frequently create (small) temporary files in /tmp, etc.
  - faster access and less wear with RAM disk
- Linux provides “dynamic RAM disk” (tmpfs)
  - only existing files consume RAM
  - automatically cleared on reboot (-> volatile)
- Solid state drive is a non-volatile RAM disk
  - uses same interface as (spinning) hard drive
    - Battery buffered DRAM (fast, no wear, expensive)
    - Flash based (varied speed, wears out, varied cost)

---
Storage Hierarchy
Physical Memory
Swap
Cache
Page Swapping
Generic Block Layer
Logical Block
Address
Intercept
I/O Scheduler
Pseudo Driver
Block Device
Drivers
RAM Disk
Hard Disk
Flash
User-Space
FS
RAM
Disk
HDD
Flash
Disk
FTL

---
HDD
- Rotating mechanical device
  - 7200, 1000, 15000 rpm.
- Head on the right track (seek time) 4 ms
- Head on the right sector (latency) 2ms
- Capacity: 4-12 TB
- Bandwidth: Read / Write ~ 150/200 MB/s
- At constant rotating speed, where should I put my data to get max bandwidth ?

---
Current HDD technology
We can find several magnetic hard disk technologies today:
- Serial Advanced Technology Attachment (SATA)
- Serial Attached SCSI (SAS)
- Advanced Technology Attachment ([P]ATA/[E]IDE) (obsoleted by SATA)
- Small Computer System Interface (SCSI) (obsoleted by SAS)

---
   Solid-State Drive (SSD)
pros:
  - lower access time and latency
  - no moving parts (silent, less susceptible to physical shock, low power consumption and heat production)
  - available over SATA, SAS, PCIe, FC buses
cons:
  - expensive, low capacity; usage limited to special purposes only (hardly used for data-servers)
  - limited write-cycle durability (depending on technology and ... price)
      - SLC NAND flash ~ 100K erases per cell
      - MLC NAND flash ~ 5K-30K erases per cell
      - TLC NAND flash ~ 300-500 erases per cell

---
SSD technology
- SLC – Single Level Cell
  - One threshold, one bit
  - 105 to 106 write cycles per page
- MLC – Multi Level Cell
  - Multiple thresholds, multiple bits (2 bits)
  - 104 write cycles per page
  - Denser and cheaper, but slower and less reliable
- TLC – Triple Level Cell
  - Cheapest, slowest writes
  - 500 write cycles per page!

---
SSD vs HDD
Latency ÷40: 0.1 ms vs 4 ms
Bandwith x3: 450 MB/s vs 150 MB/s
Capacity ÷8: 1 TB X SSD vs 8 TB (2016)
Price / Byte x10: $0.4 / GB vs $0.05 / GB

---
NVME
None-volatile Memory Express (NVMe)
SSD can be connected on PCIe bus
SATA /SAS protocols designed for mechanical drive and are now the bottleneck
SAS SSD: 100 μsec - 450 MB/s
NVMe SSD: 20 μsec - 2500 MB/s

---
Memory/Disk prices

---
The Disk Bandwidth/Reliability Problem
Disks are slow: use lots of them in a parallel file system
However, disks are unreliable, and lot’s of disks are even more unreliable

---
RAID
- RAID is a way to aggregate multiple physical devices into a larger virtual device
  - Redundant Array of Inexpensive Disks
  - Redundant Array of Independent Devices
- Invented by Patterson, Gibson, Katz, et al
  - http://www.cs.cmu.edu/~garth/RAIDpaper/Patterson88.pdf
- Redundant data is computed and stored so the system can recover from disk failures
  - RAID was invented for bandwidth
  - RAID was successful because of its reliability

---
RAID reliabilty and performance..
Reliability or performance (or both) can be increased using different RAID “levels”.
Let us examine some of the most important:
Definitions:
S: Hard disk drive size.
N: Number of hard disk drives in the array.
P: Average performance of a single hard disk drive (MB/sec).

---
LINEAR RAID
Performance = P
NO REDUNDANCY
Capacity = N * S

---
RAID 0
Performance = P * N
STRIPING
Capacity = N * S

---
RAID 1
Write Perf. = P
Read Perf. = P * N
REDUNDANCY
Capacity = S

---
Nested RAID levels
RAID 10 / RAID 1+0 and RAID 0+1
REDUNDANCY
STRIPING
Raid 1+0 / 10: mirrored sets in a striped set
the array can sustain multiple drive losses so long as no mirror loses all its drives
Raid 0+1: striped sets in a mirrored set
if drives fail on both sides of the mirror the data on the RAID system is lost

---
RAID 5
One disk can fail
Distributed parity

---
RAID 6
Two disks can fail
Double distributed parity code

---
Notes on redundancy
Computing and updating parity negatively impact the performance. Upon drive failure, though, lost data can be reconstructed, and any subsequent read can be calculated from the distributed parity such that the drive failure is masked to the end user.
However, a single drive failure results in reduced performance of the entire array until the failed drive has been replaced and the associated data rebuilt.
The larger the drive, the longer the rebuild takes (up to several hours on busy systems or large disks/arrays).

---
Hot spare
Both hardware and software RAIDs with redundancy may support the use of a hot spare drive, a drive physically installed in the array which is inactive until an active drive fails, when the system automatically replaces the failed drive with the spare, rebuilding the array with the spare drive included. A hot spare can be shared by multiple RAID sets.
Subsequent additional failure(s) in the same RAID redundancy group before the array is fully rebuilt can cause data loss.
RAID 6 without a spare uses the same number of drives as RAID 5 with a hot spare and protects data against failure of up to two drives, but requires a more advanced RAID controller and may not perform as well.

---
RAID Parameters
Level	Description	Minimum # of drives	Space Efficiency	Fault Tolerance	Read Benefit	Write Benefit
RAID 0	Block-level striping without parity or mirroring.	2	1	0 (none)	nX	nX
RAID 1	Mirroring without parity or striping.	2	1/n	n-1 drives	nX	1X
RAID 5	Block-level striping with distributed parity.	3	1-1/n	1 drive	(n-1)X	(n-1)X
RAID 6	Block-level striping with double distributed parity.	4	1-2/n	2 drives	(n-2)X	(n-2)X
RAID 1+0/10	Striped set of mirrored sets.	4	*	needs 1 drive on each mirror set	*	*
RAID 0+1	Mirrored set of striped sets.	4	*	needs 1 working striped set	*	*
http://en.wikipedia.org/wiki/RAID

---
Measure performance
dd: to measure storage system performance
# dd if=/dev/zero of=/tmp/toto bs=1k count=1k oflag=sync
1024+0 records in
1024+0 records out
1048576 bytes (1.0 MB, 1.0 MiB) copied, 1.17594 s, 892 kB/s
# dd if=/dev/zero of=/tmp/toto bs=1k count=1k
1024+0 records in
1024+0 records out
1048576 bytes (1.0 MB, 1.0 MiB) copied, 0.00291734 s, 359 MB/s
Questions:
1- Why such a difference between the two runs?
2 - How to measure Read bandwidth?